## V2GEL
V2G Equipment List (Full Data)
List generated January 28 2025
|  |  | Maximum Discharge Power | Nominal Voitage | 1741 Certification |  |  |  |  | UL1741 SA13 Volt-Var | UL1741 F-W-V-W | UL 1741 SA Disable/Limit Pwr | Common Smart Inverter Profile Conformance | [6 empty] | Source Requirements Documents |  | Power Control System | [10 empty] | Current Reference Points |  |  |  |  | Communication Protocols | [6 empty] | Additional Certifications |  |  |  |  | Connectors Included
Manufacturer | Model | Description | (KW) | (VAC) | Entity | Certificate Date [M/D/Y] | Supplement | Firmware Version(s) Tested | SA8-SA13 | Performed with RPP | SA14-SA15 | SA17-SA18 | Certified | Tested w/Gateway | Certified/Tested by | Attestation | Notes | Listing Date | Last Update | R21 | Other | Included | Description2 | Add'l Req'd Devices | Unrestricted | Resp Time(s) 1 | Export Only | Resp Time(s) 2 | Import Only | Resp Time(s) 3 | No Exchange | Resp Time(s) 4 | Inverter | Gateway | External Sensor | External Device | Other 1 | ISO 15118-2 | ISO 15118-20 | DIN 70121 | OCPP 1.6 | OCPP 2+ | OpenADR | Other 2 | UL 2202 | UL 2594 | UL 9741 | Energy Star | Other 3 | J1772 | J1772 CCS DC | J3400 NACS | MCS | CHAdeMO | Other 4
Borg Warner | RES-DCVC125-480-V2G | 125kW Bi-directional DC Fast Charger for 100% BEV vehicles, 270-920Vdc, 200Amps, 480Vac, 3-phase input, outdoor use | 125 | 480 | UL | 12/10/2021 | SA | 00270829/A6AB | Y | Y | Y | Y | N | Y | UL | N |  | 04/27/2023 | 04/27/2023 | Y |  | Y | Management, control and limitation of power exchange between V2G system and AC utility systems | Kitu Spark, Firmware CSIP-2.3.4.30 | N |  | N |  | Y | 30 | N |  | Y | Y | N | N |  | N | N | N | N | N | N |  | Y | N | N | N |  | N | N | N | N | N
Borg Warner | RES-DCVC60-480-V2G | 60kW Bi-directional DC Fast Charger for 100% BEV's. 270-870Vdc, 200Amps, 480Vac, 3-phase 60Hz input for outdoor use | 60 | 480 | UL | 12/10/2021 | SA | Version 603 / 0A16 | Y | Y | Y | Y | N | Y | UL | N |  | 04/27/2023 | 04/27/2023 | Y |  | Y | Management, control and limitation of power exchange between V2G system and AC utility systems | Kitu Spark, Firmware CSIP-2.3.4.30 | N |  | N |  | Y | 30 | N |  | Y | Y | N | N |  | N | N | N | N | N | N |  | Y | N | N | N |  | N | N | N | N | N
dcbel inc. | dcbel Ara (r16) | Home Energy Station | 15.2 | 208/240 | Intertek/ETL | 11/07/2024 | SA,SB | v16 | Y | Y | N | N | N | N | Intertek | N |  | 12/10/2024 | 12/10/2024 | N |  | N |  |  | N |  | N |  | N |  | N |  | N | N | N | N |  | Y | Y | Y | N | Y | Y | CSIP | N | N | Y | N | IEEE2030.5, FCC | Y | Y | N | N | Y
Fermata Energy | FE-15 | 15-kW bidirectional, offboard DC charger with Distributed Energy Resource capabilities | 15 | 480 | UL | 03/04/2020 | None | 0.1.8.2 |  |  |  |  | N | N |  | N | The FE-15 is a UL1741 and UL 9741 certified Bi-Directional EV charger. ITs certified to IEEE 1547 2003. ITs the first UL 9741 Certification on record with UL. Its a Bi-directional EV charger. It conforms to and is listed on the CHAdeMO website and is a Nis | 04/26/2023 | 04/26/2023 | N |  | N |  |  | N |  | N |  | N |  | N |  | N | N | N | N |  | N | N | N | N | N | N | DNP3 | N | N | Y | N |  | N | N | N | N | Y
Fermata Energy | FE-20 | Bi-Directional Electric Vehicle Charging Equipment | 20 | 480 | UL | 08/16/2023 | SA | 1.0 | Y | Y | Y | N | N | N |  | N |  | 02/08/2024 | 02/08/2024 | N |  | N |  |  | N |  | N |  | N |  | N |  | N | N | N | N |  | N | N | N | N | Y | N |  | N | N | Y | N |  | N | N | N | N | Y
Power Electronics S.L.U. | NBIV2G0400U | Power cabinets with low voltage input, which can supply energy from grid to electric vehicles through dispensers and pantographs or the other way around. | 44 | 480 | Eurofins/MET | 02/22/2023 | None | 2.6.0 |  |  |  |  | N | N |  | N | Bidirectional AC-DC converters model BEG1K075G are built in NBIV2G power cabinets and meet specs from UL1741 and Suplement SA&SB. | 01/17/2024 | 01/17/2024 | N |  | N |  |  | N |  | N |  | N |  | N |  | N | N | N | N |  | N | N | N | N | N | N |  | Y | N | N | N |  | N | N | N | N | N
Power Electronics S.L.U. | NBIV2G0650S | Power cabinets with low voltage input, which can supply energy from grid to electric vehicles through dispensers and pantographs or the other way around. | 66 | 480 | Eurofins/MET | 02/22/2023 | None | 2.6.0 |  |  |  |  | N | N |  | N | Bidirectional AC-DC converters model BEG1K075G are built in NBIV2G power cabinets and meet specs from UL1741 and Suplement SA&SB. | 01/17/2024 | 01/17/2024 | N |  | N |  |  | N |  | N |  | N |  | N |  | N | N | N | N |  | N | N | N | N | N | N |  | Y | N | N | N |  | N | N | N | N | N
Power Electronics S.L.U. | NBIV2G0850S | Power cabinets with low voltage input, which can supply energy from grid to electric vehicles through dispensers and pantographs or the other way around. | 88 | 480 | Eurofins/MET | 02/22/2023 | None | 2.6.0 |  |  |  |  | N | N |  | N | Bidirectional AC-DC converters model BEG1K075G are built in NBIV2G power cabinets and meet specs from UL1741 and Suplement SA&SB. | 01/17/2024 | 01/17/2024 | N |  | N |  |  | N |  | N |  | N |  | N |  | N | N | N | N |  | N | N | N | N | N | N |  | Y | N | N | N |  | N | N | N | N | N
Power Electronics S.L.U. | NBIV2G1100S | Power cabinets with low voltage input, which can supply energy from grid to electric vehicles through dispensers and pantographs or the other way around. | 110 | 480 | Eurofins/MET | 02/22/2023 | None | 2.6.0 |  |  |  |  | N | N |  | N | Bidirectional AC-DC converters model BEG1K075G are built in NBIV2G power cabinets and meet specs from UL1741 and Suplement SA&SB. | 01/17/2024 | 01/17/2024 | N |  | N |  |  | N |  | N |  | N |  | N |  | N | N | N | N |  | N | N | N | N | N | N |  | Y | N | N | N |  | N | N | N | N | N
Power Electronics S.L.U. | NBIV2G1300S | Power cabinets with low voltage input, which can supply energy from grid to electric vehicles through dispensers and pantographs or the other way around. | 132 | 480 | Eurofins/MET | 02/22/2023 | None | 2.6.0 |  |  |  |  | N | N |  | N | Bidirectional AC-DC converters model BEG1K075G are built in NBIV2G power cabinets and meet specs from UL1741 and Suplement SA&SB. | 01/17/2024 | 01/17/2024 | N |  | N |  |  | N |  | N |  | N |  | N |  | N | N | N | N |  | N | N | N | N | N | N |  | Y | N | N | N |  | N | N | N | N | N